OPTIONAL

AC Perforated Supply Plenum Specification

The AC Perforated Supply Plenum (ACPSP) shall provide make-up air through a dual stream perforated stainless steel plenum. All seams shall be welded and have stainless steel on exposed surfaces. Unexposed surfaces shall be constructed of aluminized steel. Perforated diffuser plates shall be included in the design and to provide even air distribution. The air-conditioned portion of the plenum shall be insulated to prevent condensation. The make-up air plenum shall be located nearest the hood and the air-conditioned plenum away from the hood. The make-up air stream and the air-conditioned stream shall not be permitted to mix until leaving the dual plenum.

Features and Benefits:

Provides up to 80% make-up air

Delivers AC where it is needed most

AC air does not interfere with hood’s capture and containment

Convenient termination for AC ductwork in kitchen

Stainless steel construction to match the ventilation hood

Insulated to prevent condensation
